FIBRE CEMENT FAÇADE PANEL CLADDING

Design, engineer, supply, fabricate and install DURACOM 9mm thick compressed fibre cement by BLUECHIP (Phone: 08 9451 2344) to the areas as shown on the drawings. The contractor shall provide a complete cladding system, including cladding material, sarking, framing, fixings, gaskets and other accessories required. The 9mm DURACOM panels shall have a smooth finish to provide a high quality surface ready for a suitable external coating product and shall be pre-sealed to prevent moisture ingress onsite before the panels are painted.

Disclaimer:

This Specification provided is generic in nature and is supplied in good faith for Specification guidance purposes only. It is understood that no 2 projects are alike and project specific information and advice should be obtained from necessary engineers, consultants and suppliers on a project to project basis.