FIBRE CEMENT WEATHERBOARD

Design, engineer, supply, fabricate and install STRATUM fibre cement weatherboard planks by BLUECHIP (Phone: 08 9451 2344) to the areas as shown on the drawings. The contractor shall provide a complete cladding system, including cladding material, sarking, framing, fixings, gaskets and other accessories required. The STRATUM fibre cement weatherboard planks shall be pre-sealed ready for a suitable external coating product once installed. The profile shall be............................................................ (Nominate a profile: STRATUM Standard / STRATUM Duo / STRATUM Trio / STRATUM Contour / STRATUM Era).

Disclaimer:

This Specification provided is generic in nature and is supplied in good faith for Specification guidance purposes only. It is understood that no 2 projects are alike and project specific information and advice should be obtained from necessary engineers, consultants and suppliers on a project to project basis.