WOOD COMPOSITE DECKING

Design, engineer, supply and install CAPTURA composite decking by BLUECHIP (Ph: 08 9451 2344) to the areas as shown on the drawings. The contractor shall provide a complete decking system, including decking boards, fascia boards, framing, fixings and other accessories required and the decking shall be installed to the sub-frame using the …………………………………………… (nominate secret-fixing / face-fixing) method as per the manufacturers specifications. The decking shall consist of a 24mm thick wood composite core material manufactured from 50% recycled timber fibres and 50% recycled high-density polyethylene which has been fully encased in a cap-stock layer. The colour shall be …………………………………………… (nominate a colour/s).

Disclaimer:

This Specification provided is generic in nature and is supplied in good faith for Specification guidance purposes only. It is understood that no 2 projects are alike and project specific information and advice should be obtained from necessary engineers, consultants and suppliers on a project to project basis.