SPECIFICATION TEMPLATE

TRAXION Mineral-fibre Technology Decking

# SCOPE OF WORK

The scope of work includes the design, supply, fabrication and installation TRAXION Mineral-fibre Technology Decking, complete with all necessary sub-structures, anchors, hardware and fittings to provide a total installation and decking system from the structure out.

# MATERIAL AND FINISHES

Decking Material:

The decking shall be TRAXION Mineral-fibre Technology Decking supplied by Blue Chip Group Pty Ltd (Ph: 1300 945 123). TRAXION Mineral-fibre Technology Decking is a giant leap forward in wood-alternative decking. Made in USA with patented Mineral-fibre technology, it has the industry’s best strength-to-weight ratio. It’s powerful, stable and doesn’t absorb moisture. Plus, the durable polymer cap stock won’t stain or fade and has excellent slip resistance of P5, the highest possible slip-rating when tested to Australian standard AS 4586. The Mineral-fibre technology creates a fibre-like structure inside the material, like wood, giving it unmatched strength. The lightweight boards are easy-to-handle on the job site and unlike PVC or some other composites, TRAXION high-strength composite decking won’t splinter, sag, chalk or crack.

Critical Specifications:

| ITEM | TEST STANDARD | UNIT | RESULT |
| --- | --- | --- | --- |
| Slip Resistance Required | AS 4586 | - | P5 |
| Deck Weight per M2 Allowed | Actual | Kg/m2 | 16.45 |
| Moisture Absorption Allowed | ASTM D 1037 | 24hr Submerged | <0.4% |
| Thermal Movement Allowed | ASTM D 696 | mm/m/°C | <0.001 |

**NO ALTERNATIVE MATERIALS WILL BE ACCEPTED FOR THIS PROJECT**

Colour Selection:

Refer to exterior finishes schedule.

(Select colour code/s from the Finishes tab at the below link) http://www.bluechipgroup.net.au/timber-decking-perth/best-composite-decking-perth.html

Profile Selections:

Deck Boards	TRAXION 140 x 22mm Secret Fix Decking **Insert Colour**, 5.8m Lengths

Edge Boards	TRAXION 140 x 22mm Pencil Round **Insert Colour**, 5.8m Lengths

Secret Fixings:

The TRAXION secret fix decking boards shall be installed using either the proprietary STOWAWAY secret-fixing clips with black-head coated stainless steel square-drive screws or the CAMO secret-fixing clip system, both of which are supplied by Blue Chip Group Pty Ltd. Secret-fixings shall be installed in accordance with the manufacturer’s instructions.

Face Fixings:

The TRAXION edge boards, fascia boards and decking breaker boards, as required, shall all be fixed using the proprietary PROPLUG system which provides identically finished plugs to match the TRAXION decking, hiding the face-fixed screws. All face-fixings shall be installed in accordance with the manufacturer’s instructions.

Fixings General:

Fasteners, including concealed screws, nuts, bolts and other items required for connecting aluminium to aluminium or aluminium to steel shall be in accordance with AS 3566.2 and of a type to suit its application and exposure conditions.

Class 1/2:	Internal applications.

Class 3:	External applications, moderate industrial and marine applications.

Class 4:	Severe marine applications

Dissimilar Materials:

Where two surfaces of dissimilar material come into contact, such surfaces shall be separated with a layer of PVC or Polyethylene tape or powder-coat finish.

Warranty:

The decking shall be covered by a 25 year manufacturer’s warranty. The warranty is subject to the decking system being fabricated and installed by a manufacturer trained and approved installer with a minimum 5 years’ experience.

# INSTALLATION

General:

All work to be carried out in accordance with the TRAXION manufacturer's recommendations and installation manuals as well as any relevant building codes, Australian standards and good commercial practice. All component parts shall be installed level, true to line with uniform joints.

# Installation Details:

# The decking shall be fabricated and installed in accordance with the most recent version of the TRAXION Installation Details which are available online at www.bluechipgroup.net.au or by emailing sales@bluechipgroup.net.au or by calling 1300 945 123.

Technical Manual:

# The decking shall be fabricated and installed in accordance with the most recent version of the TRAXION Technical Manual which is available online at www.bluechipgroup.net.au or by emailing sales@bluechipgroup.net.au or by calling 1300 945 123.

Sub-framing System:

The sub-framing system to be installed in a manner to ensure all applied loadings to the decking is transferred back to the ground. Size and spacing of sub-frame members shall be determined according to applied loads and deflection limitations. Joist spacings shall be installed at maximum 450mm centres or as required to adequately support the decking system.

Acceptable Sub-framing materials are:

- TRAXION mineral-fibre sleeper system for direct fix to concrete or paving

- Suitably treated structural grade timber to suit the project location & requirements

- Suitably treated steel sub-framing system to suit the project location & requirements

- Aluminium sub-framing system

Installation System Code:

TX-22-CSF: Concealed Screw Fix (PDF & DWG construction details available on request)

Disclaimer:

This Specification provided is generic in nature and is supplied in good faith for Specification guidance purposes only. It is understood that no 2 projects are alike and project specific information and advice should be obtained from necessary engineers, consultants and suppliers on a project to project basis.